## Slide 1
Pipette the cell suspension sample to the counting chamber
Perform fluorescence microscopy imaging
Analyze the images by this tool (see the instruction below)
Review the results and verify if all cells were identified properly
In case some cells were missed, perform manual correction

## Slide 2
Pipette the cell suspension sample to the counting chamber
Perform fluorescence microscopy imaging
Analyze the images by this tool (see the instruction below)
Review the results and verify if all filaments were split properly and all individual cells were identified
In case some cells were missed, perform manual correction

## Slide 3
Chart: Light intensity (µmol photons m-2 s-1)
| 0 | 1 | 2 | 7 | 62 | 120 | 177 | 263 | 376 | 515 | 730 | 963 | 1213 | 1501 | 1787 | 2121 | 2508 | 2897 | 3331 | 3914 | 4507
 | 0 | 0.21989 | 0.43957 | 1.5347 | 13.23 | 24.8865 | 35.694 | 50.8459 | 68.7793 | 88.0208 | 112.3656 | 132.393 | 147.8026 | 159.2638 | 165.3901 | 167.4982 | 164.9974 | 158.8318 | 149.2491 | 134.061 | 117.806
16 h | 0 | 0.24991 | 0.48639 | 1.6513 | 12.1051 | 20.9416 | 30.0189 | 44.8668 | 64.099 | 86.017 | 112.0415 | 133.75 | 150.0959 | 160.0149 | 167.3335 | 168.0194 | 164.5875 | 155.9923 | 148.9697 | 137.6648 | 116.4886
Chart: Light intensity / PAR (µmol photons m-2 s-1)
| 0 | 1 | 2 | 7 | 62 | 120 | 177 | 263 | 376 | 515 | 730 | 963 | 1213 | 1501 | 1787 | 2121 | 2508 | 2897 | 3331 | 3914 | 4507
 | 0 | 0.21989 | 0.43957 | 1.5347 | 13.23 | 24.8865 | 35.694 | 50.8459 | 68.7793 | 88.0208 | 112.3656 | 132.393 | 147.8026 | 159.2638 | 165.3901 | 167.4982 | 164.9974 | 158.8318 | 149.2491 | 134.061 | 117.806
16 h | 0 | 0.24991 | 0.48639 | 1.6513 | 12.1051 | 20.9416 | 30.0189 | 44.8668 | 64.099 | 86.017 | 112.0415 | 133.75 | 150.0959 | 160.0149 | 167.3335 | 168.0194 | 164.5875 | 155.9923 | 148.9697 | 137.6648 | 116.4886
Rapid light curve example

## Slide 4
Chart: OJIP curve example
Chart: Time (ms)
Chart: Example OJIP curve
O
I
P
J

## Slide 6
Chart: 
Chl a
PE
PC
Chl-PSI
PBS-PSI
PBS
PBS-PSII
PC+APC
PE
Chl-PSII
PE-PSI
PC-PSI
PE-PSII
PC-PSII
PC+APC
PE
PC+APC

## Slide 7
Chl-PSI
PBS-PSI
PBS-PSII
PBS
PBS
Chl-PSII
PE-PSI
PC-PSI
PE-PSII
PC-PSII
PC+APC
PE
PE
Example 77K spectra
800
700
600
500
400
500
600
650
Emission wavelength (nm)
Excitation wavelength (nm)

## Slide 8
Nostoc
PE-strain
Syn 6803

## Slide 10
42

## Slide 13
Workflow for pixel intensity analysis from confocal microscopy images in cyanobacteria cells (Nostoc sp.)
Selected cells:
Bright field
Selected cells:
Fluorescence channel 1
Selected cells:
Fluorescence channel 2
Selected cells:
Fluorescence channel 3
Cells selection
Pixel intensities: bright field
Pixel intensities: channel 1
Pixel intensities: channel 2
Pixel intensities: channel 3

## Slide 14
Selected cells:
Bright field
Selected cells:
Fluorescence channel 1
Selected cells:
Fluorescence channel 2
Selected cells:
Fluorescence channel 3
Cells selection
Pixel intensities: bright field
Pixel intensities: channel 1
Pixel intensities: channel 2
Pixel intensities: channel 3

## Slide 15
Workflow for pixel intensity analysis from confocal microscopy images in cyanobacteria cells (Synechocystis sp.)
Selected cells:
Fluorescence
Selected cells: pixels intensity profiles
(each color represents individual cell)
Cells selection
Selected cells:
Fluorescence
Selected cells: pixels intensity profiles
(each color represents individual cell)
Cells selection

## Slide 16
Workflow for cell size analysis from confocal microscopy images in cyanobacteria (Synechocystis sp.)
Selected cells:
Diameters
Cells selection
Selected cells:
Cell diameter histogram
Selected cells:
Diameters
Cells selection
Selected cells:
Cell diameter histogram

## Slide 17
Workflow for cell size analysis from confocal microscopy images in cyanobacteria (Nostoc sp.)
0
10
20
30
40
50
Count
Selected cells:
Diameters
Cells selection
Selected cells:
Cell diameter histogram
0
10
20
30
40
50
Count
Selected cells:
Diameters
Cells selection
Selected cells:
Cell diameter histogram

## Slide 18
Homepage suggestion
Photosynthesis tools
Rapid Light Curves
OJIP Curves
Slow kinetics
This site offers tools for analyzing data acquaried by methods routinely used in laboratories working with cyanobacteria, algae, plants or bacteria. The site is developed at Department of Adaptive Biotechnologies (DoAB) of Global Change Research Institute of the Czech Academy of Sciences (CzechGlobe). To begin, pease select a tool from the options below.
Updates of the CyanoTools webiste are being added regularly. For the latest updates, check the development log.
Fluorescence spectroscopy tools
77K Excitation-emission spectra
Welcome to CyanoTools!
Cell counting tools
Cell counting - round cells
Cell counting - filaments
🦠

## Slide 20
Jeste zadat, aby logo symbolizovalo data analysis a fotosyntezu