## Slide 1
Pipette the cell suspension sample to the counting chamber
Perform fluorescence microscopy imaging
Analyze the images by this tool (see the instruction below)
Review the results and verify if all cells were identified properly
In case some cells were missed, perform manual correction

## Slide 2
Pipette the cell suspension sample to the counting chamber
Perform fluorescence microscopy imaging
Analyze the images by this tool (see the instruction below)
Review the results and verify if all filaments were split properly and all individual cells were identified
In case some cells were missed, perform manual correction

## Slide 3
Chart: Light intensity (µmol photons m-2 s-1)
| 0 | 1 | 2 | 7 | 62 | 120 | 177 | 263 | 376 | 515 | 730 | 963 | 1213 | 1501 | 1787 | 2121 | 2508 | 2897 | 3331 | 3914 | 4507
 | 0 | 0.21989 | 0.43957 | 1.5347 | 13.23 | 24.8865 | 35.694 | 50.8459 | 68.7793 | 88.0208 | 112.3656 | 132.393 | 147.8026 | 159.2638 | 165.3901 | 167.4982 | 164.9974 | 158.8318 | 149.2491 | 134.061 | 117.806
16 h | 0 | 0.24991 | 0.48639 | 1.6513 | 12.1051 | 20.9416 | 30.0189 | 44.8668 | 64.099 | 86.017 | 112.0415 | 133.75 | 150.0959 | 160.0149 | 167.3335 | 168.0194 | 164.5875 | 155.9923 | 148.9697 | 137.6648 | 116.4886
Chart: Light intensity / PAR (µmol photons m-2 s-1)
| 0 | 1 | 2 | 7 | 62 | 120 | 177 | 263 | 376 | 515 | 730 | 963 | 1213 | 1501 | 1787 | 2121 | 2508 | 2897 | 3331 | 3914 | 4507
 | 0 | 0.21989 | 0.43957 | 1.5347 | 13.23 | 24.8865 | 35.694 | 50.8459 | 68.7793 | 88.0208 | 112.3656 | 132.393 | 147.8026 | 159.2638 | 165.3901 | 167.4982 | 164.9974 | 158.8318 | 149.2491 | 134.061 | 117.806
16 h | 0 | 0.24991 | 0.48639 | 1.6513 | 12.1051 | 20.9416 | 30.0189 | 44.8668 | 64.099 | 86.017 | 112.0415 | 133.75 | 150.0959 | 160.0149 | 167.3335 | 168.0194 | 164.5875 | 155.9923 | 148.9697 | 137.6648 | 116.4886
Rapid light curve example

## Slide 4
Chart: OJIP curve example

## Slide 5
Chart: 
Chl a
PE
PC
Chl-PSI
PBS-PSI
PBS
PBS-PSII
PC+APC
PE
Chl-PSII
PE-PSI
PC-PSI
PE-PSII
PC-PSII
PC+APC
PE
PC+APC

## Slide 6
Chl-PSI
PBS-PSI
PBS-PSII
PBS
PBS
Chl-PSII
PE-PSI
PC-PSI
PE-PSII
PC-PSII
PC+APC
PE
PE
Example 77K spectra

## Slide 7
Nostoc
PE-strain
Syn 6803